## Offices and Hall
JPLG - Diinsoor (South West State)
Construction of Diinsoor District Offices - 2020
Construction of Offices with Meeting Hall.
SN# | Description | Unit | Quantity | Unit Cost (US$) | Total Amount (US$)
1 | Substructure works
1.1 | Site Clearing of beginning work (phase one) and site clearing after completed work (phase two). | M2 | 300
1.2 | Demolished existing Building | Ls | 1
1.3 | Excavate foundation trenches 50cm wide commencing from g.l and not exceeding 1000mm deep | M3 | 66.6
1.4 | Foundation walling - 50cm natural rubble stone embedded in 1:3 cem/sand mortar projecting 45 cm from g.l | M3 | 80.475
1.5 | Supply and compact approved natural stone hardcore, thickness 65cm to make up levels | M3 | 105.3
1.6 | 10cm thick murram or other approved blinding material, well compacted and levelled | M3 | 23.4
1.7 | VRC,10cm thick floor slab (1:2:4) with R6 mesh | M3 | 51.888
Sub-total for Substructure works
2 | Superstructure works.
2.1 | 20cm thick cement approved sand hollow blocks wall bonded in cement sand ratio 1:3 for super structure walling | M2 | 388.5
2.2 | R.C (1:2:4 mix) in above the doors & windows conc. ring beams 30 cm depth, each with 4N0. Y12 re-bars & R6 links @ 250 mm c/c. | M3 | 6.66
2.3 | R.C (1:2:4 mix) top tie beam conc. ring beams 30 cm depth, each with 4N0. Y12 re-bars & R6 links @ 250 mm c/c. | M3 | 6.66
Sub-total for Superstructure works
3 | Roof works
3.1 | 28g repainted Iron sheets on 80 x 40 timber trusses at 120cm centre to centre complete with purlins, struts and ties | M2 | 300
3.2 | 4mm thick laminated ceiling boards inclusive of cornice and painting. | M2 | 234
3.3 | 2 x 2 ceiling timber branderings, 600mm centre to centre both sides | LM | 500
3.4 | Supply and fix 200mmx20mm facia board, including two coats enamel paint | LM | 56
3.5 | Construction Verandah: columns, walls,slab, and decoration. | Ls | 1
Sub-total for roof works
4 | Plastering and other finishing works
4.1 | External & internal plastering, 25mm thick, cement/ sand mix 1:3, with steel float finish | M2 | 888
4.2 | Apply two coats white wash and emulsion paint to all internal plastered walls | M2 | 888
4.3 | Laying floor tiles with cement screed 1:2 cement/sand floor screed including wall of toilets. | M2 | 234
4.4 | Laying 100mm Skirting tiles with 1:2 cement/sand. | Ls | 1
Subtotal for finishing works
5 | Doors, Windows, Vents & Services
5.1 | Supply and fix double leaf steel panel doors complete with frame, hinges locks and to include two coats of gloss paint . | No | 5
5.2 | Supply and fix single leaf timber panel doors complete with frame, hinges locks and to include two coats of gloss paint . | No | 5
5.3 | supply and fix Aluminium windows complete with 10mm frame, hinges & locks for both. | M2 | 21.96
5.4 | Allow for permanent vents above openings | No | 13
5.5 | Supply and fix approved electrical conduits and accessories inclusive of sockets, switches, light points and set to work | Ls | 1
Subtotal for doors, windows & services
Main Summary of Hall 2
Sub-total for Substructure works
Sub-total for Superstructure works
Sub-total for roof works
Subtotal for finishing works
Subtotal for doors, windows & services
GRAND TOTAL FOR MEETING HALL 2

## Twin Toilets
JPLG - Diinsoor (South West State)
Construction of Diinsoor District Offices - 2020
Construction Twin Toilets.
SN# | Description | Unit | Quantity | Unit Cost (US$) | Total Amount (US$)
1 | Twin Toilets
1.1 | Site Clearing of beginning work (phase one) and site clearing after completed work (phase two). | M2 | 50
1.2 | Excavate for foundation not exceeding 1m deep. | M3 | 5.76
1.3 | 30cm natural stone foundation walling in cem/sand mortar 1:3 | M3 | 6.6
1.4 | Compacted hardcore and well blinded with approved blinding layer | M2 | 6
1.5 | VRC,100 mm thick floor slab (1:2:4) with R6 mesh | M3 | 0.45
1.6 | Prepare and lay 20mm thick cement flooring screed finished smooth cement slurry | M2 | 4.5
1.7 | Approved cem/sand blocks for super structure walling embedded in cem/sand mortar 1:3 | M2 | 23.47
1.8 | V.R.C ( 1:2:4 mix ). Ring and top beams 20cm depth, each with 4no. Y12 re-bars & Y8 rings @200mm c/c | M3 | 0.288
1.9 | 25mm thick plaster and paint with 2 coats of white wash to all walls | M2 | 41.47
1.11 | Paint 2 coats of emulsion paint to the internal and external walls | M2 | 41.47
1.12 | 28g pre painted iron sheet cover (flat roof) inclusive of timber trusses and fascia board painted to approval | M2 | 10.5
1.13 | Supply and fix t Steel Panel doors complete with door frame and all necessary ironmongeries, inclusive of door painting to approval | No | 2
1.14 | Supply and fix t Steel Panel windows complete with window frame and all necessary ironmongeries, inclusive of window painting to approval | No | 2
1.15 | Supply and fix approved squatting ceramic toilet complete with flushing cistern and set to work | No | 2
1.16 | Supply and fix wall mounted ceramic wash hand basin complete with all necessary accessories and set to work | No | 1
1.17 | Allow for connection of water supply from elevated water tank to the toilet and 1 water tap per toilet | item | 1
1.18 | Allow for connection of drainage system from toilet to septic tank rate to include construction of manholes to approval | item | 1
Sub total for Twin toilets
2 | Septic Tanks - (4m by 2m on plan)
2.1 | Excavate for septic tank pit commencing from g.l and not exceeding 1.5m deep | M3 | 22.5
2.2 | Excavate for septic tank pit commencing from 1.5and not exceeding 3.0m deep | M3 | 22.5
2.3 | Allow for construction of 15cm mass concrete foundation base | M3 | 2.25
2.4 | Foundation walling using approved natural stones embedded on cem/sand mortar 1:3 . | M2 | 36
2.5 | 150mm thick top slab (1:2:4) reinforced with Y10 rebars both ways @ 200mm c/c | M3 | 1.2
2.6 | Supply and fix dia 150mm PVC pipe breather with mosquito net gauze wire fixed at top | No | 1
| Provide and installed Drainage pipe from water closet to the septic tanks | No | 4
Sub total for Septic Tanks
Grand Total for Latrines

## Perimeter and Underground w. T.
JPLG - Diinsoor (South West State)
Construction of Diinsoor District Offices - 2020
Adding 0.8m height 150m Perimeter wall, Undergroun and Elevated Water T. of Beradaale District.
SN# | Description | Unit | Quantity | Unit Cost (US$) | Total Amount (US$)
1 | Perimeter Wall.
1.1 | Removing existing coping of perimeter wall (phase one) and site clearing after completed work (phase two). | Item | 1
| 40cm thick cement approved natural stone wall bonded in cement sand ratio 1:3 for super structure walling. | M3 | 48
1.2 | External & internal plastering, Key plastering or pointing, 25mm thick, cement/ sand mix 1:3, with steel float finish as directed by the engineer. | M2 | 320
| Apply two coats white wash to all internal and external plastered walls. | M2 | 900
1.3 | Apply two coats emulsion paint to all internal and external plastered walls. | M2 | 900
| 400mm wide x 100 mm thick, with mix ratio 1:2:4 VRC coping on top of perimeter wall. | M3 | 6
| Total for perimeter wall |  |  |  | 0
2 | Underground water tank (4m x 3m on plan)
2.1 | Excavate for water tank pit commencing from g.l and not exceeding 1.0m deep | M3 | 12
2.2 | Excavate for water tank pit commencing from 1.0and not exceeding 2.0m deep | M3 | 12
2.3 | 5cm mass concrete blinding to receive base slab | M3 | 1
2.4 | 15cm VRC base slab(1:2:4) reinforced with Y10 rebars both way @ 200mm c/c | M3 | 2
2.5 | Construct tank wall using approved masonary wall embedded in cement sand mortar 1:4 | M3 | 11
2.6 | 25mm thick water proof plaster to masonary wall and base slab to ensure water tank is water tight | M2 | 28
2.7 | 10cm top slab (1:2:4)reinforced with Y10 rebars both ways@200mm c/c inclusive of 600 x 450mm manhole cover and sleeves for inlet and outlet water pipes | M3 | 2
Sub total for underground water tank
3 | Elevated water tank
3.1 | Excavate for base 1.2 x 1.2 x 0.6 | M3 | 1
3.2 | VRC concrete 1:2:4 reinforced with Y10 rebars both sides @ 200mm c/c base footing | M3 | 1
3.3 | 500 x 500 colum 4m high from g.l reinforced with 4 Y12 and Y8 rings at 250mm c/c | M3 | 1
3.4 | Top base slab for holding water tank | item | 1
3.5 | Supply and fix 2,000 litter(10 barrels) water tank | No | 1
3.6 | Allow for water supply pipe connection from underground water tank to elevated water tank | item | 1
3.7 | Allow for water pump and connect to pump from underground to elevated water tank | No | 1
Sub total for elevated water tank
Grand Total For Perimeter, Undergroun and El. W

## Grand Sumarry
JPLG -Diinsoor (South West State)
Construction of Diinsoor District Offices - 2020
GRAND SUMMARY
1 | Construction of Offices and Hall
3 | Construction of Twin Toilets
5 | Construction of peremeter Wall, Underground and Elevated Water Tank
GRAND TOTAL